## Emergency Preparedness
Evolve Holdings, Inc. | DIR Contract No. DIR-TSO-4072 Emergency Preparedness and Disaster Recovery Information Technology Products and Related Services (Evolve Holdings)
Product/Manufacturer | Product # | Description | MSRP | % Discount | DIR Price
Emerency Power Solutions
Mitsubishi | M1100A-A-10-208-A06 | DiamondPlus™ 1100A - Internal Battery—UPS System 10 kVA Module | 22058 | 20% | 17778.748
Mitsubishi | M9900A-E-080-480-480-N | 9900AEGIS UPS System - 80kVA Module | 41347 | 20% | 33325.682
Mitsubishi | M9900A-E-160-480-480-N | 9900B UPS System - 160kVA Module | 57090 | 20% | 46014.54
Mitsubishi | M9900B-A-300-480-480-MSC-N | 9900B UPS System - 300kVA Module | 88492 | 20% | 71324.552
Mitsubishi | M9900B-A-500-480-A01 | 9900B UPS System - 500kVA Module | 120255 | 20% | 96925.53
Clarke | 500D-JXMR-NAD | 500 kW Emergency Power Generator - Base Configuration | 98500 | 15% | 84352.9375
Gillette | SPJD-1250-3-4 | 125 kW Emergency Power Generator - Base Configuration | 38150 | 15% | 32670.7063
Evolve | 5X400D3000 | 2 MW Evolution Series - Base Configuration (4x500 kW Engines) | 720277 | 15% | 616827.2159
Evolve | EDCS-KW-101 | Data Center Colocation Monthly Recurring Charge Per kW | 335 | 20% | 270.01
Evolve | EIS-PSE1-1001 | Phase 1 Initial Data Center Consulting (Under 5,000 Sq. Ft.) - Not Including Travel & Expenses if Applicable | 8997 | 15% | 7704.8059
DATA CENTER COLOCATION SERVICES
DATA CENTER SPACE (Monthly Recurring Expenses)
| Price per KW per month (KW X $335 = Cost Per Month) (Cost Per Month X 12 = Annual Cost) |  | 335 | 20% | 268
DATA CENTER SPACE (One-Time Charges) |  |  | Per Unit
| 48u Cabinet including Metered PDUs (2) - Installed |  | 2860 | 20% | 2288
| Cabinet Set-Up - Customer Provides Equipment |  | 390 | 20% | 312
| Space Expedite Fee (< 10 Business Days) |  | 1300 | 20% | 1040
POWER - A / B REDUNDANT (One-Time Charges)
SINGLE PHASE - WHIP PAIR |  | RECEPTACLE | Per Unit
| 120 Volt / 20 Amp | L5 | 1950 | 20% | 1560
| 120 Volt / 30 Amp | L5 | 1950 | 20% | 1560
| 208 Volt / 30 Amp | L6 | 1950 | 20% | 1560
| Power Expedite Fee (< 10 Business Days) |  | 1300 | 20% | 1040
THREE PHASE - WHIP PAIR |  | RECEPTACLE | Per Unit
| 208 Volt / 30 Amp | L21 | 2600 | 20% | 2080
| 208 Volt / 60 Amp | C9W | 3250 | 20% | 2600
| Expedite Fee (< 10 Business Days) |  | 1300 | 20% | 1040
NETWORK (One-Time-Charges) * Note: Does not include monthly connectivity charges. |  |  | Per Unit
| Fiber Order Single Mode |  | 1040 | 20% | 832
| Cross-Connect - Cat 6a/5e (Copper) |  | 650 | 20% | 520
| POTS Line (Copper) |  | 650 | 20% | 520
| Expedite Fee - Fiber (< 10 Business Days) |  | 650 | 20% | 520
| Expedite Fee - Copper (< 5 Business Days) |  | 650 | 20% | 520
SMART HANDS (One-Time Charge) |  |  | Per Unit
| Level I - Hourly Rate (1 Hour Minimum, 15 Minute Increments) |  | 97.5 | 20% | 78.4
| Pallet Storage Fee Per Day (> 5 Business Days) |  | 32.5 | 20% | 26.4
| Package Storage Fee Per Day (> 10 Business Days) |  | 13 | 20% | 10.4